**PAT Construction Management Corp.**

Bid Addendum #1

Casilio 2457 Wehrle

* Storage Room 113 should be quoted separately as New Alternate #6
* Hall 122 LVT-1 should be replaced with CPT-1
* Alternate #3 (provide new millwork doors Kitchen Rm 104 and Conference Rm 102) provide separate quotes per room
* Doors quoted separately for Rooms 114 and 112
* New Alternate #7 – remove glass between Room 110 and Room 109, drywall and paint.
* Painting and Flooring trades should quote movement of furniture separately.
* Alternate #5 is a note for Storage Room 113 and Kitchen 104, quote should include removing existing floor and prep.
* Drywall and Acoustical trade should include demolition of the wall between Rooms 112 and 114.
* Drywall trades to quote separate price for door and hardware installation.

**Revised Bid Due Date: February 22, 2021 @ 2:00 pm**